## Busdata
## BUSDATA
NO | NAME | kV | FLAG | PLOAD[kw] | QLOAD[kvar] | Qshunt[kvar] | FLAG3 | Vscheduled[pu] | QgenMax[kvar] | QgenMin[kvar] | CODE
1 | BUS1 | 12 | 1 | 0 | 0 | 0 | 0 | 1 | 9999 | -9999 | 3
2 | BUS2 | 12 | 1 | 320 | 160 | 0 | 0 | 1 |  |  | 1
3 | BUS3 | 12 | 1 | 320 | 160 | 0 | 0 | 1 |  |  | 1
4 | BUS4 | 12 | 1 | 320 | 160 | 0 | 0 | 1 |  |  | 1
5 | BUS5 | 12 | 1 | 320 | 160 | 0 | 0 | 1 |  |  | 1
6 | BUS6 | 12 | 1 | 1280 | 1280 | 0 | 1 | 1 |  |  | 1
7 | BUS7 | 12 | 1 | 240 | 160 | 0 | 0 | 1 |  |  | 1
8 | BUS8 | 12 | 1 | 320 | 160 | 0 | 1 | 1 |  |  | 1
9 | BUS9 | 12 | 1 | 240 | 320 | 0 | 0 | 1 |  |  | 1
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Số nút (duy nhất)
Note on B2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Tên nút
Note on C2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Điện áp định mức nút
Note on D2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1-Inservice; 0- Out of service
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Công suất tác dụng của phụ tải
Note on F2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Công suất phản kháng của phụ tải
Note on G2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: >0: capacitive; <0 reactive
Note on H2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1: Shunt có thể đóng/mở (branching)
Note on I2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Điện áp đặt tại cho Bus nguồn >0
Note on J2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Công suất Q cực đại (của Bus nguồn)
Note on K2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Công suất Q cực tiểu (của Bus nguồn)
Note on L2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Loại BUS, 1/None- bus Tải, 2- bus PV, 3-bus SWING

## linedata
## LINEDATA |  | 14.4 |  |  |  | 0.21 | 0.41 | 14.4
NO | FROMBUS | TOBUS | FLAG | FLAG3 | LENGTH | R(Ohm) | X(Ohm) | B(microSiemens) | RATEA[A]
1 | 2 | 1 | 1 | 0 | 3 | 0.63 | 1.23 | 0 | 300
2 | 3 | 2 | 1 | 1 | 3.5 | 0.735 | 1.435 | 0 | 200
3 | 4 | 3 | 1 | 1 | 3 | 0.63 | 1.23 | 0 | 300
4 | 4 | 5 | 1 | 1 | 3.5 | 0.735 | 1.435 | 0 | 300
5 | 5 | 6 | 1 | 1 | 2.5 | 0.525 | 1.025 | 200 | 300
6 | 2 | 7 | 1 | 1 | 3 | 0.63 | 1.23 | 0 | 300
7 | 7 | 8 | 1 | 1 | 3.5 | 0.735 | 1.435 | 0 | 300
8 | 9 | 4 | 1 | 1 | 2.5 | 0.525 | 1.025 | 500 | 300
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Số thứ tự Line, duy nhất >1000
Note on D2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1-Inservice; 0- Out of service; dùng để lưu trữ dự liệu thô
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1: có thể đóng/mở (branching)
Note on F2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Length of Line (km)