## Sheet1
## LINEDATA |  | 14.4 |  |  |  | 0.21 | 0.41 | 14.4
No | Bus code | volt. Mag | Angle Degree | P Load | Q Load | Generator P | Generator Q | Generator Q min | Generator Q max | Qc/QL
1 | 1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2 | 0 | 0 | 120 | 50 | 0 | 0 | 0 | 0 | 0
3 | 0 | 1.05 | 0 | 20 | 5 | 75 | 0 | 0 | 0 | 0

## Sheet2
bus nl | bus nr | R | X | B | Line code and tap setting
1 | 2 | 0.03 | 0.3 | 0 | 1
2 | 3 | 0.06 | 0.2 | 0 | 1
Note on G1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: >0: capacitive; <0 reactive
Note on H1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1: Shunt có thể đóng/mở (branching)
Note on I1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Điện áp đặt tại cho Bus nguồn >0
Note on J1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Công suất Q cực đại (của Bus nguồn)
Note on K1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Công suất Q cực tiểu (của Bus nguồn)
Note on L1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Loại BUS, 1/None- bus Tải, 2- bus PV, 3-bus SWING